## Slide 2
Project members
310623106126 - Sarveswaran K
310623106153 - Suvarn V S
310623106168 - Udhayan C H B
310623106179 - Vishnuvardhan M
Project mentor
Mrs.K.Abirami
Title : Healthcare Automation with MQTT Protocol and Node-RED flow management
Course name : Mini project
Course code : 231ECC513L

## Slide 3
Introduction
Scenario: Imagine a post-surgery patient left unattended in a hospital room. The air quality degrades or the patient's heart rate drops unexpectedly. A delay in response can risk the patient's life.
Challenges: Vital signs and room conditions require constant attention.
Need: Real-time, automated monitoring and alerting.
Our Approach: We propose a smart healthcare automation system that monitors key parameters and triggers alerts to the nursing station or reception when critical thresholds are breached enhancing patient safety and reducing response time.

## Slide 4
Objective
To develop an automated patient monitoring system for hospital rooms that continuously tracks vital signs and air quality. The system will detect critical changes such as a sudden drop in heart rate or deteriorating room conditions and generate real-time alerts to medical staff, enabling timely intervention and improving overall patient safety.

## Slide 5
Existing works
  Most systems monitor either vitals or air quality, not both.
  Health monitoring with MQTT and Node-RED (no air quality integration).
  Air quality monitoring in smart homes (no vitals monitoring).
  ESP32-based vital tracking (personal use, not hospital-focused).
  ICU systems exist but are costly and not flexible.

## Slide 6
Literature survey
  Studies highlight MQTT as a lightweight and reliable protocol for real-time health data transfer, suitable for resource-constrained devices.
  Research indicates that such visualization tools improve usability for medical staff.
  MQTT ensures fast communication between patients’ devices and hospital servers.
  Applied for flow-based control but not deeply integrated with hospital infrastructure.

## Slide 7
System Design
Sensor
Server
(MQTT Broker)
Microcontroller
Database
Sensor
Microcontroller
Analysis
Actuator
Alert
MQTT
Publisher
MQTT
Subscriber

## Slide 8
Block Diagram

## Slide 9
Components Used
Raspberry Pi 3 Model B v1.2
Esp8266 NodeMcu2
16x2 LCD Display
MQ135 Sensor
Heart Sensor

## Slide 10
Components Used
ESP32
5V power Adapter
USB Cable
5V Buzzer
12V DC Fan

## Slide 11
Tech Stacks
Raspberry Pi OS Lite (64 bit)
Node-Red
Operating System
Database
InfluxDB
Frontend
Grafana
Mosquitto
Docker
Portainer.io
Backend Services
Containerization & Management
Dev Tools
CLI

## Slide 12
Circuit Diagram

## Slide 13
Working
  Data Acquisition Layer – Collects real-time data from MQ135 (air quality) and MAX30100 (heart rate) using ESP32 microcontrollers at 1-second intervals.
  Wireless Communication System – Transmits sensor data via MQTT protocol through Raspberry Pi–hosted Mosquitto broker using topic-based communication.
  Data Processing & Automation Engine – Node-RED processes incoming data, compares with threshold values, and triggers automation within 800 ms.

## Slide 14
Working
  Data Storage & Management – InfluxDB stores time-stamped sensor readings with optimized retention and query efficiency.
  Multi-Modal Alerting & Actuation – Activates DC fan, buzzer, and LCD display through relay and I²C communication upon threshold breach.
  Visualization & Monitoring Interface – Grafana dashboard provides real-time visualization, historical trends, and alert indicators.
  Containerized Infrastructure – Dockerized setup on Raspberry Pi runs Node-RED, MQTT, InfluxDB, and Grafana under Portainer for efficient management.

## Slide 15
Working
  End-to-End Data Pipeline – Complete flow from sensor collection → MQTT transmission → Node-RED processing → InfluxDB storage → Grafana visualization → actuator response.
  System Integration Features – Modular, fault-tolerant design with sub-2 s response and scalability for future sensor expansion.
  Outcome & Reliability – Delivers a unified, automated healthcare monitoring system ensuring timely alerts and improved patient safety.

## Slide 16
Prototype/Working Model

## Slide 17
Server – Running state
  The Raspberry Pi 3 serves as the central server, managing data from sensors and actuators in real time.
  It runs Node-RED, MQTT, InfluxDB, and Grafana inside Docker containers for automation and visualization.

## Slide 18
Docker Dashboard
All SERVICES Healthy and Running

## Slide 19
Node-RED Flow Management
Flow for Voc and Heart Rate

## Slide 20
InfluxDB Dashboard
DATA Logging of Voc and Heart Rate in database

## Slide 21
Results

## Slide 22
Results

## Slide 23
Conclusion
  The healthcare automation system successfully demonstrated the integration of IoT technologies for comprehensive patient and environmental monitoring. The results confirm that the MQTT-based communication, Node-RED processing, and containerized deployment provide a robust foundation for healthcare applications. The system's performance in real-time monitoring, automated alerting, and data management meets the requirements for practical healthcare deployment, while the modular design ensures adaptability for future enhancements and scaling.

## Slide 24
Future Scope
Based on the implementation experience and results, several improvement opportunities were identified:
Advanced Analytics: Implement machine learning for predictive alerting
Multi-patient Support: Scale architecture for ward-level monitoring
Battery Backup: Integrate UPS for power failure protection
Mobile Integration: Develop companion mobile application
Advanced Sensors: Incorporate additional physiological parameters (SpO2, temperature)

## Slide 25
References
"Internet of Things: A Hands-On-Approach" – Arshdeep Bahga, Vijay Madisetti Covers MQTT, IoT architectures, and real-time health monitoring use cases.
"Medical Instrumentation: Application and Design" – John G. Webster Explains heart rate monitoring and sensor integration in healthcare systems.
Node-RED Based Framework for Healthcare IoT Systems Low-Cost IoT-Based Health Monitoring System for COVID-19 Patients Journal of Healthcare Engineering, 2021 - (https://www.irjet.net/archives/V9/i1/IRJET-V9I1282.pdf )